## Slide 1: New Mexico Environment Department
Quality Assurance in Southern Doña Ana County
Ryan Maxfield, ESS-A QA Auditor
February 17, 2023

## Slide 2: Quality System Framework
Guidance Documents for Quality System Implementation in Accordance with NAAQS Standards in a SLAMS Network
40 CFR Documents (Parts 50, 53 & 58)
QA Handbook Volume II
Quality Assurance Project Plan (QAPP)
EPA’s Technical Assistance Documents
Standard Operating Procedures
Documentation and Reports

## Slide 3: Site Selection
Monitor Designation
Pollutants Monitored
Siting Criteria
  Distances
  Probe Placement
  Air Flow Considerations

## Slide 4: Monitoring Equipment Operation
PM10
PM2.5
Ozone (O3)
Nitrogen Dioxide (NO2)
Preventive maintenance
Metadata with respect to operating conditions
Quality control
  Flow, temperature and pressure
  Leak checks
  1-point QC Checks

## Slide 5: Data Validation
Monthly/quarterly manual calibration
Weekly automated 1-pt QC checks
Semiannual/annual QA audit
Tri-annual NPAP audit
Network review
Instrument performance evaluation
Data Quality Assessment
Technical Systems Audit
Field Activities
Administrative Activities

## Slide 6: Southern Doña Ana County Sites
https://aqicn.org/map/newmexico/

## Slide 7: Particulate Monitoring Equipment
Filter-Based
  Non-continuous
  Filters require pre and post weighing
Beta Attenuation
  Continuous
  Real-time data
  Low maintenance
Federal Reference Method
Federal Equivalent Method

## Slide 8: Filter Weight Issues
Filter blank discrepancies
Receipt of damaged filters
Filter weights not obtained within specification
Lab temp/humidity out of conformance
Lab not following SOP

## Slide 9: Background Ozone Characteristics
6ZN Santa Teresa Ozone
Note: Graphics utilize non-validated data
6ZM Desert View
Note: Graphics utilize non-validated data
Wind blowing from the southeast at 8 to 10 m/s
Wind blowing from the west at 10 to 15 m/s

## Slide 10
Questions?
Contact Information
Email: ryan.maxfield@env.nm.gov
Phone: (915) 262-8793
https://www.env.nm.gov/